Saint Louis University

Institutional Review Board

GUIDELINES FOR HUMANITARIAN USE DEVICE (HUD) SUBMISSIONS

- Definitions

1. What is a Humanitarian Use Device (HUD)?

The definition of a HUD is a device that is intended to benefit patients in the treatment and diagnosis of diseases or conditions that affect or are manifested in fewer than 4,000 individuals in the United States per year.

2. What is a Humanitarian Device Exemption (HDE)?

A Humanitarian Device Exemption (HDE) is an application that is similar to a pre-market approval (PMA) application. An approved HDE authorizes marketing of a Humanitarian Use Device (HUD).

B. Additional Resources

For more information about HUD or HDE, see the following links:

# Q&A

http://www.fda.gov/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm110194.htm

# General information

http://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfHDE/HDEInformation.cfm

C. IRB Review Process

Because the Saint Louis University IRB must conduct an initial review and continuing reviews of humanitarian use device submissions, SLU clinicians will need to complete the Humanitarian Use Device Submission Form. HUD Applications are initially reviewed at the convened board, but continuing reviews can be done through expedited review.

Because the submission is for a HUD and not for a clinical investigation, you should not refer to it as "research" in your application.  Please provide the manufacturer's materials (e.g., protocol, device information) and include any information that would be helpful to the IRB reviewers as instructed by the HUD Application.

Although the FDA regulations do not require a consent form, Saint Louis University IRB does require that consent be obtained and that the proposed consent form be reviewed by the Board. For guidance, please refer to the HUD consent form template. Please submit a copy with your application or provide a justification for waiver of consent in the IRB Application. Assent from minors is typically not required given that this is treatment and parents typically make those decisions for minor children.